Health and Safety

8.3 Fire Safety and Emergency Evacuation

Policy statement

We ensure our premises present no risk of fire by ensuring the highest possible standard of fire precautions. The person in charge and staff are familiar with the current legal requirements. Where necessary we seek the advice of a competent person, such as our Fire Officer, or Fire Safety Consultant.

Procedures

- The basis of fire safety is risk assessment. These are carried out by a ‘competent person’.

- We have a copy of the fire safety risk assessment that applies to the building from the Landlords - they contribute to regular reviews.

- Fire doors are clearly marked, never obstructed and easily opened from the inside.

- Smoke detectors/alarms and fire fighting appliances conform to BSEN standards, are fitted in appropriate high risk areas of the building and are checked as specified by the manufacturer.

- Our emergency evacuation procedures are approved by the Fire Safety Officer and are:

- clearly displayed in the premises;

- explained to new members of staff, volunteers and parents; and

- Practised regularly at least once every six weeks (half termly).

- Records are kept of fire drills and the servicing of fire safety equipment (Locked filing cabinet in Pre-School office)

Emergency evacuation procedure

- Through regular Fire Drills the children become aware of the alarm sound. These are done on a Half Termly basis (Every 6 Weeks)

- As part of the open day and visit procedures, parents /carers are made aware of the fire exits and emergency evacuation procedure. These details are also available in the entrance hall.

- All children, staff and visitors are safely and calmly led to the assembly point (School playground) through the pre-school garden or via the main school, dependant on where they exited the Mazenod Centre.

- At the assembly point, the children are required to line up in the school playground, where they are assisted with the reflective jackets. The Fire Officer BARBARA SORGOWICKA will then take a register of all present, using the pre-school register and the visitor’s book, which are obtained by the Fire Officer BARBARA SORGOWICKA when exiting the building.

- The Emergency Evacuation procedure should take no more than 6 minutes.

- Emergency Services are called

- Parents are contacted, using the contact details in the register.

The fire drill record book must contain:

- Date and time of the drill.

- How long it took.

- Whether there were any problems that delayed evacuation.

- Any further action taken to improve the drill procedure.

- Fire Alarm Checks.

| This policy was adopted at a meeting of | Our Lady of Lourdes Pre-School |  |
| --- | --- | --- |
| Held on |  | (date) |
| Date to be reviewed |  | (date) |
| Signed on behalf of the management committee |  |  |
| Name of signatory |  |  |
| Role of signatory (e.g. chair/committee) |  |  |